{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["监测标准物质申购表","附件"],"not_rendered":{"images":2},"read":"whole","date_system":"1900"}

{"sheet":"监测标准物质申购表","index":0,"n_rows":70,"n_cols":9,"rows_kept":70,"merged":[[0,0,0,7]]}
["监测标准物质申购表"]
["序号","物质名称","类别","数量","单位","浓度范围","浓度单位","参考厂商","备注"]
[1,"电导率","标准样品",15,"瓶","无要求",null,"生态环境部环境发展中心环境标准样品研究所"]
[2,"石油类（红外法）","标准样品",10,"瓶","无要求",null,"生态环境部环境发展中心环境标准样品研究所"]
[3,"石油类（红外法）","标准溶液",10,"瓶","无要求",null,"生态环境部环境发展中心环境标准样品研究所"]
[4,"石油类（紫外法）","标准样品",30,"瓶","无要求",null,"生态环境部环境发展中心环境标准样品研究所","加急，库存为0支"]
[5,"石油类（紫外法）","标准溶液",20,"瓶","无要求",null,"生态环境部环境发展中心环境标准样品研究所","加急"]
[6,"氟化物","标准样品",20,"瓶","无要求",null,"生态环境部环境发展中心环境标准样品研究所"]
[7,"氟化物","标准溶液",10,"瓶",500,"mg/L","生态环境部环境发展中心环境标准样品研究所"]
[8,"挥发酚","标准样品",8,"支","无要求","mg/L","生态环境部环境发展中心环境标准样品研究所"]
[9,"苯酚","标准溶液",9,"支",500,"mg/L","生态环境部环境发展中心环境标准样品研究所"]
[10,"总磷","标准溶液",10,"支",500,"mg/L","生态环境部环境发展中心环境标准样品研究所"]
[11,"色度","标准溶液",10,"支",500,"mg/L","生态环境部环境发展中心环境标准样品研究所"]
[12,"二氧化硅","标准溶液",4,"支","100-500","mg/L"]
[13,"金属内标","标准溶液",2,"瓶","10-100","mg/L","AccuStandard","不含Be元素，有效期在2025年12月以后"]
[14,"金属混标","标准样品",2,"支","10-100","mg/L","AccuStandard","30种金属元素，有效期在2025年9月以后"]
[15,"海洋沉积物","标准样品",1,"瓶","20-100","g","国家地质","GBW07335，有效期在2024年12月以后"]
[16,"海洋沉积物","标准样品",1,"瓶","20-100","g","国家地质","GBW07336，有效期在2024年12月以后"]
[17,"海洋沉积物","标准样品",1,"瓶","50-100","g","海洋二所","HYES-GBW07333，有效期在2024年12月以后"]
[18,"海洋沉积物","标准样品",1,"瓶","50-100","g","NRC","HISS-1，有效期在2026年1月后"]
[19,"海洋沉积物","标准样品",1,"瓶","50-100","g","NRC","MESS-4，有效期在2026年1月后"]
[20,"海洋沉积物","标准样品",1,"瓶","50-100","g","NRC","PACS-3，有效期在2026年1月后"]
[21,"汞","标准溶液",2,"瓶","无要求","mg/L",null,"有效期在2026年1月后"]
[22,"砷","标准溶液",2,"瓶","无要求","mg/L",null,"有效期在2026年1月后"]
[23,"硒","标准溶液",2,"瓶","无要求","mg/L",null,"有效期在2026年1月后"]
[24,"14种酚类化合物","标准溶液",1,"瓶",100,"mg/L","AccuStandard","适用于HJ744-2015,有效期至2025年6月30日以后，具有合格证书"]
[25,"2,5-二溴甲苯和2,2’5,5’-四溴联苯混标","标准溶液",1,"瓶",1000,"mg/L","AccuStandard","适用于HJ744-2015,有效期至2025年12月31日以后，具有合格证书"]
[26,"2-氟酚和2,4,6-三溴酚混标","标准溶液",1,"瓶",2000,"mg/L","AccuStandard","适用于HJ744-2015,有效期至2025年12月31日以后，具有合格证书"]
[27,"24种半挥发性有机物","标准溶液",1,"瓶","500-2000","mg/L","AccuStandard","适用于GB3838-2002,溶剂为甲醇，有效期至2025年2月28日以后，具有合格证书"]
[28,"7种多氯联苯","标准溶液",1,"瓶","500-2000","mg/L",null,"包括：Aroclor-1016、Aroclor-1021、Aroclor-1232、Aroclor-1242、Aroclor-1248、Aroclor-1254、Aroclor-1260，支持单标，有效期至2025年12月31日以后，具有合格证书"]
[29,"阿特拉津","标准溶液",2,"瓶","100-1000","mg/L","AccuStandard","溶剂为甲醇，有效期至2025年6月30日后，具有合格证书"]
[30,"甲萘威","标准溶液",2,"瓶","100-1000","mg/L","AccuStandard","溶剂为甲醇，有效期至2025年6月30日后，具有合格证书"]
[31,"23种有机氯农药混标","标准溶液",1,"瓶","1000-5000","mg/L","DR.E","适用于HJ835-2017,溶剂为正己烷，具有合格证书，有效期至2025年12月31日以后"]
[32,"3种内标(HJ 835)","标准溶液",1,"瓶","1000-5000","mg/L","DR.E","含五氯硝基苯、菲-d10和屈-d12，适用于HJ835-2017,溶剂为正己烷，具有合格证书，有效期至2025年12月31日以后"]
[33,"2种替代(HJ 835)","标准溶液",2,"瓶","1000-5000","mg/L","DR.E","含2,4,5,6-四氯间二甲苯和氯茵酸二丁酯，适用于HJ835-2017,溶剂为正己烷，具有合格证书，有效期至2025年5月31日以后"]
[34,"十氯联苯","标准溶液",1,"瓶","1000-5000","mg/L","AccuStandard","溶剂为正己烷，有效期至2025年12月31日以后，具有合格证书"]
[35,"3种邻苯二甲酸酯类化合物","标准溶液",1,"瓶","100-1000","mg/L","FIRST","含DIBP、DINP和DIDP,溶剂为甲醇或乙腈，有效期至2025年12月31日以后"]
[36,"3种邻苯二甲酸酯类化合物同位素内标","标准溶液",1,"瓶","100-1000","mg/L","FIRST","含DIBP-d4、DINP-d4和DIDP-d4,溶剂为甲醇或乙腈，有效期至2025年6月30日以后"]
[37,"4种硝基酚类化合物","标准溶液",1,"瓶","100-1000","mg/L","DR.E","适用于HJ 1049-2019,溶剂为甲醇或乙腈，具有合格证书，有效期至2025年12月31日以后"]
[38,"2,4-二硝基苯酚-d3","标准溶液",1,"瓶","100-1000","mg/L","FIRST","适用于HJ 1049-2019,溶剂为甲醇或乙腈，有效期至2025年6月30日以后"]
[39,"百菌清和溴氰菊酯混标","标准溶液",1,"瓶","10-1000","mg/L","AccuStandard","适用于HJ 689-2014，溶剂为甲醇，有效期至2025年6月30日以后，具有合格证书"]
[40,"甲基汞","标准溶液",1,"瓶","100-1000","mg/L",null,"以甲基汞计，溶剂甲醇，具有合格证书，有效期至2025年12月31日以后"]
[41,"25种挥发性有机物混标","标准溶液",1,"瓶","10-1000","mg/L","AccuStandard或DR.E","溶剂为甲醇，有效期至2026年7月1日后，具体物质见附件，具有合格证书"]
[42,"三氯乙醛","标准溶液",1,"瓶",1000,"mg/L","AccuStandard","溶剂为甲醇，有效期至2025年2月1日后，具有合格证书"]
[43,"六溴环十二烷-13C12","标准溶液",1,"瓶","5-100","mg/L","FIRST","含3种六溴环十二烷-13C12（α-六溴环十二烷-13C12，β-六溴环十二烷-13C12，γ-六溴环十二烷-13C12），溶剂为甲苯，有效期至2025年12月31日后"]
[44,"α-六溴环十二烷-D18","标准溶液",1,"瓶","5-100","mg/L","FIRST","溶剂为甲苯，有效期至2025年12月31日后"]
[45,"15种硝基苯类化合物混标","标准溶液",1,"瓶","100-1000","mg/L","NSI","溶剂正己烷或二氯甲烷，适用于HJ648-2013,具有合格证书，有效期2025年12月31日后。"]
[46,"甲醛","标准溶液",4,"瓶","100-1000","mg/L","生态环境部环境发展中心环境标准样品研究所","溶剂5%乙醇，具有合格证书，有效期2025年2月28日后。"]
[47,"黄磷","标准溶液",1,"瓶","100-1000","mg/L","坛墨","溶剂正己烷或环己烷，具有合格证书，有效期2025年12月31日后。"]
[48,"内吸磷","标准溶液",1,"瓶","100-1000","mg/L","农业部","溶剂甲醇，具有合格证书，有效期2025年6月30日后。"]
[49,"7种有机磷酸酯内标","标准溶液",1,"瓶","100-1000","mg/L","FIRST","溶剂正己烷或丙酮，有效期2025年6月30日后。"]
[50,"敌百虫","标准溶液",1,"瓶","100-1000","mg/L","AccuStandard","溶剂甲醇，具有合格证书，有效期2025年12月31日后。"]
[51,"异狄氏剂和p,p'-滴滴涕","标准溶液",1,"瓶","100-1000","mg/L","AccuStandard","溶剂正己烷，具有合格证书，有效期2025年6月30日后。"]
[52,"醛酮类-2,4-二硝基苯腙衍生物","标准溶液",1,"瓶","100-1000","mg/L","AccuStandard","适用于HJ683-2014，具有合格证书，有效期至2025年6月30日以后"]
[53,"8种有机氯农药","标准溶液",2,"瓶","100-1000","mg/L","AccuStandard","8种化合物为p,p'-DDT、p,p'-DDD、p,p'-DDE、o,p'-DDT、α-六六六、β-六六六、γ一六六六、δ一六六六，具有合格证书，有效期至2025年12月31日以后"]
[54,"3种三氯苯混标","标准溶液",2,"瓶","100-1000","mg/L","迪马","溶剂正己烷或丙酮，具有合格证书，有效期2025年5月31日后。"]
[55,"七氯","标准溶液",1,"瓶","100-1000","mg/L","农业部","溶剂正己烷，具有合格证书，有效期至2025年6月30日以后"]
[56,"8种有机氯农药","标准样品",2,"瓶","无要求",null,"NSI","适用于HJ921-2017，8种化合物为p,p'-DDT、p,p'-DDD、p,p'-DDE、o,p'-DDT、α-六六六、β-六六六、γ一六六六、δ一六六六，具有合格证书，有效期至2026年12月31日以后"]
[57,"阿特拉津","标准样品",3,"瓶","无要求",null,"生态环境部环境发展中心环境标准样品研究所","溶剂为甲醇或乙腈，具有合格证书，有效期2025年12月31日后。"]
[58,"甲萘威","标准样品",3,"瓶","无要求",null,"生态环境部环境发展中心环境标准样品研究所","溶剂为甲醇或乙腈，具有合格证书，有效期2025年6月30日后。"]
[59,"苯系物","标准样品",3,"瓶","无要求",null,"生态环境部环境发展中心环境标准样品研究所","溶剂为甲醇，具有合格证书，有效期2025年12月31日后。"]
[60,"海水中氨氮质控样品","标准样品",12,"袋","1-200","μg/L","国家海洋环境监测中心","有效期至2025年1月或以后"]
[61,"海水中亚硝酸盐氮质控样品","标准样品",12,"袋","1-100","μg/L","国家海洋环境监测中心","有效期至2025年1月或以后"]
[62,"海水中磷酸盐质控样品","标准样品",10,"瓶","1-100","μg/L","国家海洋环境监测中心","有效期至2025年1月或以后"]
[63,"六六六质控样（四项）","标准样品",3,"瓶","1-100","μg/L","nsi lab solutions","有效期至2025年10月或以后"]
[64,"滴滴涕质控样（四项）","标准样品",3,"瓶","1-100","μg/L","nsi lab solutions","有效期至2025年10月或以后"]
[65,"有机磷农药 质控样","标准样品",3,"瓶","1-100","μg/L","nsi lab solutions","有效期至2025年10月或以后"]
[66,"铜绿假单胞菌","标准样品",12,"颗","常用浓度","CFU","北京三药科技有限公司","有效期至2025年7月或以后"]
[67,"大肠埃希菌","标准样品",12,"颗","常用浓度","CFU","北京三药科技有限公司","有效期至2025年7月或以后"]
[68,"水质 多种微生物 质控样","标准样品",6,"片","常用浓度","CFU","nsi lab solutions","有效期至2026年4月或以后"]

{"sheet":"附件","index":1,"n_rows":1,"n_cols":1,"rows_kept":1,"merged":[[0,0,0,8]]}
["附件：25种挥发性有机物混标"]