{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["微塑料耗材"],"not_rendered":{"images":5},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"微塑料耗材","index":0,"n_rows":12,"n_cols":7,"rows_kept":12,"merged":[[1,4,4,4],[5,4,7,4]],"flags":["formulas_cached_only"]}
["序号","名称","单位","规格参数","参考样板","数量","备注"]
[1,"金属筛","套","通体不锈钢材质，带上下盖，5mm；内直径15cm",null,10]
[2,"金属筛","套","通体不锈钢材质，带上下盖，1mm；内直径15cm",null,5]
[3,"金属筛","套","通体不锈钢材质，带上下盖，0.3mm；内直径15cm",null,5,"·"]
[4,"金属筛","套","通体不锈钢材质，带上下盖，0.1mm；内直径15cm",null,10]
[5,"不锈钢圆头带齿镊子","个","全长160mm，手柄宽11mm，单片厚1.5mm以上",null,10]
[6,"不锈钢圆头带齿镊子","个","全长200mm，手柄宽11mm，单片厚1.5mm以上",null,10]
[7,"不锈钢尖头带齿镊子","个","全长160mm，手柄宽11mm，单片厚1.5mm以上",null,10]
[8,"不锈钢长柄汤勺","个","手柄29cm，勺宽7-8cm，304不锈钢",null,10]
[9,"玻璃培养皿","个","直径75mm","/",30,"耐高温玻璃培养皿"]
[10,"亚克力罩","个","具体规格需现场量尺，可上下\n翻盖，合页款","/",1,"约1m长*50cm高\n*80cm宽"]
[11,"银膜（Silver  Filters）","盒","25mm，0.45um，50/PK,AG4502550",null,4]