{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["标准物质"],"read":"whole","date_system":"1900"}

{"sheet":"标准物质","index":0,"n_rows":27,"n_cols":10,"rows_kept":27,"merged":[[0,0,0,9]]}
["标准物质需求明细","","","","","","","","",""]
["序号","标准物质类别","标准物质名称","浓度范围","单位","规格","数量","溶剂","推荐厂家","备注"]
[1,"标准溶液","2-氯萘（CN-2）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[2,"标准溶液","1，5-二氯萘（CN-6）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[3,"标准溶液","1，2，3-三氯萘（CN-13）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[4,"标准溶液","1，4，6-四氯萘（CN-24）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[5,"标准溶液","1，2，3，4-四氯萘（CN-27）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[6,"标准溶液","1，2，3，5-四氯萘（CN-28）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[7,"标准样品","1，2，5，6-四氯萘（CN-36）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[8,"标准溶液","1，3，5，7-四氯萘（CN-42）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[9,"标准溶液","1，4，5，8-四氯萘（CN-46）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[10,"标准溶液","2，3，6，7-四氯萘（CN-48）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[11,"标准溶液","1，2，3，4，5-五氯萘（CN-49）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[12,"标准溶液","1，2，3，4，6-五氯萘（CN-50）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[13,"标准溶液","1，2，3，5，7-五氯萘（CN-52）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[14,"标准溶液","1，2，3，5，8-五氯萘（CN-53）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[15,"标准溶液","1，2，3，4，5，6-六氯萘（CN-63）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[16,"标准溶液","1，2，3，4，5，8-六氯萘（CN-65）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[17,"标准溶液","1，2，3，5，6，7-六氯萘（CN-67）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[18,"标准溶液","1，2，3，5，6，8-六氯萘（CN-68）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[19,"标准溶液","1，2，3，5，7，8-六氯萘（CN-69）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[20,"标准溶液","1，2，3，6，7，8-六氯萘（CN-70）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[21,"标准溶液","1，2，4，5，7，8-六氯萘（CN-72）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[22,"标准溶液","1，2，3，4，5，6，7-七氯萘（CN-73）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[23,"标准溶液","1，2，3，4，5，6，8-七氯萘（CN-74）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[24,"标准溶液","1，2，3，4，5，6，7，8-八氯萘（CN-75）","50-1000","μg/mL","1.2mL",1,"甲苯或壬烷","CIL、Wellington、First Standard","有合格证书，有效期1年以上，尽快到货"]
[25,"标准溶液","7种多氯萘提取内标","1-100","μg/mL","1.2mL",2,"甲苯或壬烷","CIL、Wellington、First Standard","氘代13C10，PCN-13、42、52、65、67、73、75，优先混标，有合格证书，有效期1年以上，尽快到货"]