{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["入河入海排污口"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"入河入海排污口","index":0,"n_rows":87,"n_cols":9,"rows_kept":87,"merged":[[0,0,0,7]],"flags":["formulas_cached_only"]}
["广州市2025年入河入海排污口生态环境执法随机抽查情况公示表"]
["序号","抽查任务名称","排污口\n名称","监管类型","检查时间","检查情况","是否发现问题","检查结果","处理结果"]
["1","入河排污口检查","广州市海珠区沥滘污水处理厂生活污水排污口","重点监管对象","2025-11-04","该企业一、二、三期污水处理设施及在线监控设备正常运行，各污染物数值均为排放标准限值内，均设置规范的排放口标识牌和采样点，暂未发现环境违法行为。","否","现场检查未发现环境违法行为","/"]
["2","入河排污口检查","广州市荔湾区西朗污水处理厂一期城镇污水处理厂排污口","重点监管对象","2025-09-02","现场检查发现均按照环评或排污许可、入河排污口设置许可要求排污。排口基本完成排污口规范化建设(建立档案，设置标识牌，设置监测采样点，设置水质在线监测系统),其中在厂内及入河处均设置了标识牌，在厂内设置监测点，在厂内和入河处设置视频监控系统，厂内设置水质在线监测系统和流量在线监测系统，厂界标准排放口距离入河排污口约600米。\n","否","现场检查未发现环境违法行为","/"]
["3","入河排污口检查","广州市天河区临江大道南20米猎德净水厂城镇污水处理厂排污口","重点监管对象","2025-11-11","未发现问题","否","现场检查未发现环境违法行为","/"]
["4","入河排污口检查","白云区京溪街道京溪污水处理厂混合废水入河排污口","重点监管对象","2025-10-19","检查时，该厂污水处理设施正常运行，已落实入河排污口主体，排放口已完成规范化建设，本年度有按规范开展自行监测。","否","现场检查未发现环境违法行为","/"]
["5","入河排污口检查","广州市净水有限公司健康城分公司排放口","重点监管对象","2025-11-16","该厂污水处理设施正常运行，已落实入河排污口主体，排放口已完成规范化建设，本年度有按规范开展自行监测。","否","现场检查未发现环境违法行为","/"]
["6","入河排污口检查","广州市黄埔区东区水质净化厂混合入河排污口-440112W01","重点监管对象","2025年11月4日","暂未发现涉环境违法行为。现场检查时，该水质净化厂正常经营，目前污水日处理量约12万吨，检查时未发现异常。","否","现场检查未发现环境违法行为","/"]
["7","入河排污口检查","广州科学城水务投资集团有限公司（九龙水质净化三厂）排污口","重点监管对象","2025年11月5日","检查时暂未发现涉环境违法行为","否","现场检查未发现环境违法行为","/"]
["8","入河排污口检查","广州科学城水务投资集团九龙水质净化二厂","重点监管对象","2025年10月30日","暂未发现涉环境违法行为。现场检查时该污水处理厂正常经营，目前废水日处理量为40000方，按排污许可证设置1个排污口，现场检查时未发现异常。","否","现场检查未发现环境违法行为","/"]
["9","入河排污口检查","广州市黄埔区永和水质净化厂混合废污水入河排污口-440112W03","重点监管对象","2025年11月5日","检查时暂未发现涉环境违法行为","否","现场检查未发现环境违法行为","/"]
["10","入河排污口检查","广州市番禺区石壁街道都那幼儿园东372米番禺污水治理有限公司（钟村净水厂）管道排口入屏山河","重点监管对象","2025-10-21","1.污水治理设施正常运行；2.在线监控设施正常运行；3.危险废物处理设备正常运行。","否","现场检查未发现环境违法行为","/"]
["11","入河排污口检查","广州市番禺区石碁镇桥景温邨东894米番禺区番禺污水治理有限公司（前锋净水厂）沟渠排口入市桥水道","重点监管对象","2025-10-22","该单位正常生产，未发现异常情况","否","现场检查未发现环境违法行为","/"]
["12","入河排污口检查","花都区新华污水处理厂三期混合废水入河排污口-440114A10","重点监管对象","2025-10-28","环评制度落实：已检查，未发现异常；“三同时”制度落实：已检查，未发现异常；排污许可证制度落实：已检查，未发现异常；治污设施运行情况：已检查，未发现异常；污染物排放情况：已检查，未发现异常","否","现场检查未发现环境违法行为","/"]
["13","入河排污口检查","花都区花东污水处理厂混合废水入河排放口-440114A02","重点监管对象","2025-11-06","环评制度落实：已检查，未发现异常；“三同时”制度落实：已检查，未发现异常；排污许可证制度落实：已检查，未发现异常；治污设施运行情况：已检查，未发现异常；污染物排放情况：已检查，未发现异常","否","现场检查未发现环境违法行为","/"]
["14","入河排污口检查","花都区狮岭污水处理厂（一期）混合废水入河排污口-440114A03","重点监管对象","2025-11-07","环评制度落实：已检查，未发现异常；“三同时”制度落实：已检查，未发现异常；排污许可证制度落实：已检查，未发现异常；治污设施运行情况：已检查，未发现异常；污染物排放情况：已检查，未发现异常","否","现场检查未发现环境违法行为","/"]
["15","入河排污口检查","花都区狮岭（二期）污水处理厂混合废水入河排污口-440114A04","重点监管对象","2025-10-27","环评制度落实：已检查，未发现异常；“三同时”制度落实：已检查，未发现异常；排污许可证制度落实：已检查，未发现异常；治污设施运行情况：已检查，未发现异常；污染物排放情况：已检查，未发现异常","否","现场检查未发现环境违法行为","/"]
["16","入河排污口检查","广州市南沙区保利亭角中建三局项目部工矿企业雨洪排口","特殊监管对象","2025-11-05","现场检查时该项目停工，现场检查未能找到相关人员，现场检查上述入河排污口未见有废水排放，现场未见有异常情况。","否","现场检查未发现环境违法行为","/"]
["17","入河排污口检查","广州市南沙区广州宝天生物技术有限公司工矿企业排污口","重点监管对象","2025-11-06","现场检查发现该公司已关闭，现场没有生产作业及人员，设备已全面停止运行，自建污水处理设施废水已完成清运，该公司废水排污口无水排放，未见异常。","否","现场检查未发现环境违法行为","/"]
["18","入河排污口检查","广州市南沙区广州科涤水处理有限公司（东涌净水厂）城镇污水处理厂排污口","重点监管对象","2025-11-04","该单位管理的污水处理厂项目尾水经管道排至骝岗水道，采样口设在接触消毒池。现场检查时，污水处理后排放口有废水排放,未发现废水混排现象。我局已委托广东省科学院测试分析研究所（中国广州分析测试中心）对该公司外排废水进行采样监测。","否","现场检查未发现环境违法行为","/"]
["19","入河排污口检查","广州市南沙区广州溢成印花有限公司工矿企业排污口","重点监管对象","2025-11-04","该公司生产过程中产生的生产废水排入生产废水预处理设施“调节+混凝絮凝沉淀+厌氧+接触氧化+混凝絮凝沉淀”处理，部分回用生产，其余与经三级化粪池预处理后的生活污水一并排入广东斯泰克信息技术有限公司的污水处理设施深度处理后，经管道排向厂区东北面外合流管，现场未发现企业废水直接排入河涌，该合流管为市政公共管网，有其他企业、单位污水排入。现场检查时，该公司没有生产废水排放。","否","现场检查未发现环境违法行为","/"]
["20","入河排污口检查","广州市南沙区康力和涂覆材料有限公司工矿企业排污口","重点监管对象","2025-10-30","该公司活性炭更换频次不足，合成车间密闭措施不完善，废气治理设施采样平台设置不规范，废水治理设施好氧池治理效果不佳，污泥较少。执法人员要求其整改，并下达责令改正通知书。我局已委托广东省科学院测试分析研究所（中国广州分析测试中心）对该公司外排废水进行采样监测。","是","发现问题已责令整改","责令整改"]
["21","入河排污口检查","广州市南沙区市鱼路114号工矿企业雨洪排口","特殊监管对象","2025-11-05","广州市南沙区市鱼路114号工矿企业雨洪排口为广州番禺于一金属加工有限公司雨洪水排放口，现场检查时有河水倒灌现象。该公司生活污水配套污水处理设施，设置独立污水排放口，检查时污水排放口有废水排放，我局已委托广东省科学院测试分析研究所（中国广州分析测试中心）对该公司外排废水进行采样监测。","否","现场检查未发现环境违法行为","/"]
["22","入河排污口检查","广州市南沙区广州库林光学有限公司工矿企业排污口","重点监管对象","2025-11-12","现场检查时该公司正在生产，污水处理后排放口有废水排放，未发现废水混排现象。我局已委托广东省科技院测试分析研究院（中国广州分析测试中心）对该公司外排废水进行采样监测。","否","现场检查未发现环境违法行为","/"]
["23","入河排污口检查","广州市南沙区广州南沙澳美发金属塑料制品有限公司工矿企业排污口","重点监管对象","2025-11-06","该公司前处理废水排入生产废水预处理设施“三级隔油+二级混凝沉淀+RO反渗透”处理，部分回用生产，其余与经三级化粪池预处理后的生活污水一并排入广东斯泰克信息技术有限公司的污水处理设施深度处理后，经管道排向厂区东北面外合流管，现场未发现企业废水直接排入河涌。该合流管为市政公共管网，有其他企业、单位污水排入。","否","现场检查未发现环境违法行为","/"]
["24","入河排污口检查","广州市南沙区广州合诚纸包装制品有限公司工矿企业排污口","重点监管对象","2025-11-12","该公司生产过程中主要产生生活污水等污染物。生活污水配套生化处理设施处理。污水处理设施正在运行，污水排放口无废水排放，我局委托广东省科学院测试分析研究所（中国广州分析测试中心）对废水排放口储水桶内的储水（无流动）进行采样。","否","现场检查未发现环境违法行为","/"]
["25","入河排污口检查","广州市南沙区敬稻水产养殖技术有限公司规模化水产养殖排污口","一般监管对象","2025-11-12","名单企业实为广州敬滔水产养殖技术有限公司，地址位于广州市南沙区东涌镇鱼窝头长沙街40号，现场检查时该公司已注销关停，未发现有企业排放口。","否","现场检查未发现环境违法行为","/"]
["26","入河排污口检查","广州市南沙区广州市番禺水泥厂有限公司工矿企业雨洪排口","特殊监管对象","2025-11-12","现场检查时该公司生活污水处理设施正在运行，因生活污水量少，水量未到排水水位，污水排放口无废水排放。","否","现场检查未发现环境违法行为","/"]
["27","入河排污口检查","广州市南沙区峻兴混凝土有限公司2号管道工矿企业排污口","重点监管对象","2025-11-06","经查，该单位主要产生生活废水，废水经生物一体机处理后外排。废水最终排入市政管网。检查时，该单位正在生产，未发现异常问题情况。","否","现场检查未发现环境违法行为","/"]
["28","入河排污口检查","广州市南沙区广州市骏兴混泥土有限公司工矿企业排污口","重点监管对象","2025-11-06","经查，该单位主要产生生活废水，废水经生物一体机处理后外排。废水最终排入市政管网。检查时，该单位正在生产，未发现异常问题情况。","否","现场检查未发现环境违法行为","/"]
["29","入河排污口检查","广州市南沙区粤新造船有限公司分段厂工矿企业雨洪排口","特殊监管对象","2025-11-05","经查，该单位雨洪排口没有水排放，但未设置标识牌和采样孔,检查时，该单位已停产。","是","该单位雨洪排口没有设置标识牌和采样孔。","立行立改"]
["30","入河排污口检查","广州市南沙区广州市合成电子制品有限公司工矿企业排污口","重点监管对象","2025-11-07","经查，该单位生产过程中主要产生电镀废水等污染物，废水经物化+生化治理设施处理后排放。检查时，该单位正在生产，废水总排放口有水外排，已开展采样监测，未发现异常问题情况。","否","现场检查未发现环境违法行为","/"]
["31","入河排污口检查","广州市南沙区展宏铝艺科技有限公司管道排口入高沙河","重点监管对象","2025-11-06","经查，该单位产生的生活废水经园区自建建沉淀池预处理后循环使用，原废水入高沙河排污口已封堵。检查时，该单位正在经营使用，未发现异常问题情况。","否","现场检查未发现环境违法行为","/"]
["32","入河排污口检查","广州市南沙区广州市顺河纺织有限公司工矿企业排污口","重点监管对象","2025-11-06","经查，该单位生产过程中主要洗水废水等污染物，废水经配套相应治理设施处理后排放。检查时，该单位正在生产，废水总排放口有水外排，已开展采样监测，未发现异常问题情况。","否","现场检查未发现环境违法行为","/"]
["33","入河排污口检查","广州市南沙区十八涌西闸口左岸下游诚一集团规模化水产养殖排污口1","一般监管对象","2025-11-05","现场检查时未找到负责人，水产养殖排口现场没有排水，未能开展水样做监测。","否","现场检查未发现环境违法行为","/"]
["34","入河排污口检查","广州市南沙区十八涌西闸口左岸下游诚一集团规模化水产养殖排污口","一般监管对象","2025-11-05","现场检查时未找到负责人，水产养殖排口现场没有排水，未能开展水样做监测。","否","现场检查未发现环境违法行为","/"]
["35","入河排污口检查","广州市南沙区甘立志家规模化水产养殖排污口2","一般监管对象","2025-11-05","现场检查时未找到负责人，水产养殖排口现场没有排水，未能开展水样做监测。","否","现场检查未发现环境违法行为","/"]
["36","入河排污口检查","广州市南沙区科发路45-2-2规模化水产养殖排污口","一般监管对象","2025-11-05","现场检查时未找到负责人，水产养殖排口现场没有排水，未能开展水样做监测。","否","现场检查未发现环境违法行为","/"]
["37","入河排污口检查","广州市南沙区红刚路50规模化水产养殖排污口","一般监管对象","2025-10-31","现场检查时未找到负责人，水产养殖排口现场没有排水，未能开展水样做监测。","否","现场检查未发现环境违法行为","/"]
["38","入河排污口检查","广州市南沙区十五涌大桥东北300米规模化水产养殖排污口","一般监管对象","2025-10-31","现场检查时未找到工作人员，水产养殖排口现场没有排水，未能开展水样做监测。","否","现场检查未发现环境违法行为","/"]
["39","入河排污口检查","广州市南沙区长提东路81规模化水产养殖排污口","一般监管对象","2025-10-31","现场检查时未找到工作人员，水产养殖排口现场没有排水，未能开展水样做监测。","否","现场检查未发现环境违法行为","/"]
["40","入河排污口检查","广州南沙华农渔业研究院西1000米规模化水产养殖排污口1","一般监管对象","2025-10-31","现场检查时未找到工作人员，水产养殖排口现场没有排水，未能开展水样做监测。","否","现场检查未发现环境违法行为","/"]
["41","入河排污口检查","广州市南沙区十八涌涵闸前左岸40米规模化水产养殖排污口","一般监管对象","2025-10-31","现场检查时未找到负责人，水产养殖排口现场没有排水，未能开展水样做监测。","否","现场检查未发现环境违法行为","/"]
["42","入河排污口检查","广州市南沙区新岗大道25号左侧规模化水产养殖排污口","一般监管对象","2025-10-31","现场检查时未找到负责人，水产养殖排口现场没有排水，未能开展水样做监测。","否","现场检查未发现环境违法行为","/"]
["43","入河排污口检查","广州市南沙区诚一集团18涌基地右侧200米规模化水产养殖排污口","一般监管对象","2025-10-31","现场检查时未找到负责人，水产养殖排口现场没有排水，未能开展水样做监测。","否","现场检查未发现环境违法行为","/"]
["44","入河排污口检查","广州市南沙区诚一集团18涌基地右侧300米规模化水产养殖排污口","一般监管对象","2025-10-31","现场检查时未找到负责人，水产养殖排口现场没有排水，未能开展水样做监测。","否","现场检查未发现环境违法行为","/"]
["45","入河排污口检查","广州市南沙区诚一集团18十八涌专用综合房左侧50米规模化水产养殖排污口","一般监管对象","2025-10-31","现场检查时未找到负责人，水产养殖排口现场没有排水，未能开展水样做监测。","否","现场检查未发现环境违法行为","/"]
["46","入河排污口检查","广州市南沙区十八涌大桥上游10米左岸规模化水产养殖排污口","一般监管对象","2025-10-31","现场检查时未找到负责人，现场检查发现已无养殖生产，养殖排口没有水，未能开展水样做监测。","否","现场检查未发现环境违法行为","/"]
["47","入河排污口检查","广州市南沙区规模化水产养殖排污口","一般监管对象","2025-10-31","现场检查时未找到负责人，水产养殖排口现场没有排水，未能开展水样做监测。","否","现场检查未发现环境违法行为","/"]
["48","入河排污口检查","广州市南沙区红钢路15规模化水产养殖排污口","一般监管对象","2025-10-31","现场检查时未找到负责人，水产养殖排口现场没有排水，未能开展水样做监测。","否","现场检查未发现环境违法行为","/"]
["49","入河排污口检查","广州市南沙区龙穴街道凫洲大桥东北293米规模化水产养殖排污口","一般监管对象","2025-11-03","该水产养殖设置入河排污口，养殖尾水外排到鸡抱沙一涌，未安装在线设施和设备，未设有排污口标志牌。现场未向外排水；未见异常。","否","现场检查未发现环境违法行为","/"]
["50","入河排污口检查","广州市南沙区凫洲大桥东167米规模化水产养殖排污口","一般监管对象","2025-11-03","该水产养殖设置入河排污口，养殖尾水外排到鸡抱沙一涌，未安装在线设施和设备，未设有排污口标志牌。现场未向外排水；未见异常。","否","现场检查未发现环境违法行为","/"]
["51","入河排污口检查","广州市南沙区龙穴街道凫洲大桥东南243米规模化水产养殖排污口","一般监管对象","2025-11-03","该水产养殖设置入河排污口，养殖尾水外排到鸡抱沙一涌，未安装在线设施和设备，设有排污口标志牌。现场未向外排水；未见异常。","否","现场检查未发现环境违法行为","/"]
["52","入河排污口检查","广州市增城区新塘镇新和自来水有限公司4号工矿企业排污口","重点监管对象","2025-11-06","未发现环境违法行为","否","现场检查未发现环境违法行为","/"]
["53","入河排污口检查","广州市增城区新塘镇城镇污水处理厂排污口","重点监管对象","2025-10-30","未发现环境违法行为","否","现场检查未发现环境违法行为","/"]
["54","入河排污口检查","广州市增城区新塘镇中电荔新热电有限公司2号排污口","重点监管对象","2025-10-30","未发现环境违法行为","否","现场检查未发现环境违法行为","/"]
["55","入河排污口检查","广州市增城区永宁街道新和自来水有限公司1号工矿企业排污口","重点监管对象","2025-11-06","未发现环境违法行为","否","现场检查未发现环境违法行为","/"]
["56","入河排污口检查","广州市增城区新塘镇永和污水处理厂四期2号排污口","重点监管对象","2025-11-06","未发现环境违法行为","否","现场检查未发现环境违法行为","/"]
["57","入河排污口检查","广州市增城区新塘镇永和污水处理厂四期5号排污口","重点监管对象","2025-11-06","未发现环境违法行为","否","现场检查未发现环境违法行为","/"]
["58","入河排污口检查","广州市增城区新塘镇疯狂钓鱼场2号规模化水产养殖排污口","一般监管对象","2025-11-06","未发现环境违法行为","否","现场检查未发现环境违法行为","/"]
["59","入河排污口检查","广州市增城区新塘镇疯狂钓鱼场1号规模化水产养殖排污口","一般监管对象","2025-11-06","未发现环境违法行为","否","现场检查未发现环境违法行为","/"]
["60","入河排污口检查","广州市增城区新塘镇吴培英鱼塘规模化水产养殖排污口","一般监管对象","2025-10-30","未发现环境违法行为","否","现场检查未发现环境违法行为","/"]
["61","入河排污口检查","广州市增城区新塘镇吴祖辉鱼塘2号规模化水产养殖排污口","一般监管对象","2025-10-30","未发现环境违法行为","否","现场检查未发现环境违法行为","/"]
["62","入海排污口检查","广州市黄埔区穗东街道粤华电力有限责任公司工矿企业排污口03","重点监管对象","2025-10-24","检查时暂未发现涉环境违法行为","否","现场检查未发现环境违法行为"]
["63","入海排污口检查","广州市黄埔区穗东街道粤华电力有限责任公司工矿企业排污口02","重点监管对象","2025-10-24","检查时暂未发现涉环境违法行为","否","现场检查未发现环境违法行为"]
["64","入海排污口检查","广州市黄埔区黄埔街道黄埔港务分公司二大院东南面1500m港口码头排污口","一般监管对象","2025-10-24","检查时暂未发现涉环境违法行为","否","现场检查未发现环境违法行为"]
["65","入海排污口检查","广州市黄埔区夏港街道珠钢码头南面195m左岸港口码头排口","一般监管对象","2025-10-24","检查时暂未发现涉环境违法行为","否","现场检查未发现环境违法行为"]
["66","入海排污口检查","广州市黄埔区鱼珠街道中交物流广航码头西南面120米港口码头排污口","一般监管对象","2025-10-24","检查时暂未发现涉环境违法行为","否","现场检查未发现环境违法行为"]
["67","入海排污口检查","广州市黄埔区夏港街道广州东江口码头有限公司Y-01港口码头排口","一般监管对象","2025-10-24","检查时暂未发现涉环境违法行为","否","现场检查未发现环境违法行为"]
["68","入海排污口检查","广州市番禺区污水治理有限公司（化龙净水厂）城镇污水处理厂排污口","重点监管对象","2025-10-30","现场检查时该单位一、二期项目污水处理设施和臭气处理设施正常运行，废水正在外排，废水在线监控数据：1、进水：瞬时流量：2609m3/h、累计流量62868472m3（总进水）；2、出水：瞬时流量：613L/s（2207m3/h）、累计流量9014939m3、COD14.91mg/L、总氮7.79mg/L、总磷0.16mg/L、氨氮0.79mg/L、pH6.6、溶解氧4.26mg/L、悬浮物0.59mg/L。暂未发现环境违法行为。","否","现场检查未发现环境违法行为"]
["69","入海排污口检查","广州市南沙区南沙污水处理厂城镇污水处理厂排污口","重点监管对象","2025-11-03","现场检查时该公司正常运营。该公司设有1个污水排放口，其中废水排放口DW001为污水排放口(113°32'59.35\"E，22°49'36.70\"N)，主要处理南沙镇和黄阁镇（不包括小虎岛）的生活污水，生活污水经过改良型A/A/O工艺+磁混凝沉淀池+紫外消毒处理后，经管道排入小虎沥水域，该排放口位于珠江出海口的虎门水西岸，属入海排污口，污水排放方式为连续排放，2024年污水排放量为4075.3255万吨。每月委托第三方检测机构开展1次水质自行监测。现场未发现异常排水情况。","否","现场检查未发现环境违法行为"]
["70","入海排污口检查","广州市南沙区龙穴街道广州黄船海洋工程有限公司工矿企业排污口","重点监管对象","2025-10-29","该公司设置入海排污口，主要处理生活废水后外排到蕉门水道，设有在线设施和设备，现场未向外排水；未见异常。","否","现场检查未发现环境违法行为"]
["71","入海排污口检查","广州市南沙区广州港南沙集装箱一期码头港口码头排污口5","一般监管对象","2025-11-05","该公司设置入海排污口，主要处理生活废水后外排入珠江口水域伶仃洋，安装在线设施和设备，现场有水向外排；未见异常。","否","现场检查未发现环境违法行为"]
["72","入海排污口检查","广州市南沙区广州南沙海港集装箱码头有限公司港口码头排污口301","一般监管对象","2025-11-05","该公司设置入海排污口，主要处理生活废水后外排入珠江口水域伶仃洋，安装在线设施和设备，现场有水向外排；未见异常。","否","现场检查未发现环境违法行为"]
["73","入海排污口检查","广州市南沙区广州南沙海港集装箱码头有限公司港口码头排污口701","一般监管对象","2025-11-05","该公司设置入海排污口，主要处理生活废水后外排入珠江口水域伶仃洋，安装在线设施和设备，现场有水向外排；未见异常。","否","现场检查未发现环境违法行为"]
["74","入海排污口检查","广州市南沙区龙穴街道广州文冲船舶修造有限公司工矿企业排污口","重点监管对象","2025-11-06","该公司设置入海排污口，主要处理生活废水后外排入珠江口水域伶仃洋，安装在线设施和设备，现场有水向外排；未见异常。","否","现场检查未发现环境违法行为"]
["75","入海排污口检查","广州市南沙区广州港股份有限公司南沙粮食通用码头分公司港口码头排口","一般监管对象","2025-11-06","该公司设置入海排污口，主要处理生活废水后外排入珠江口水域伶仃洋，安装在线设施和设备，现场有水向外排；未见异常。","否","现场检查未发现环境违法行为"]
["76","入海排污口检查","广州市南沙区广州港股份有限公司南沙粮食通用码头分公司港口码头排污口3","一般监管对象","2025-11-06","该公司设置入海排污口，主要处理生活废水后外排入珠江口水域伶仃洋，安装在线设施和设备，现场有水向外排；未见异常。","否","现场检查未发现环境违法行为"]
["77","入海排污口检查","广州市南沙区南沙集装箱三期码头港口码头排污口YJ3-1","一般监管对象","2025-11-12","该排污口属于广州港股份有限公司南沙集装箱码头分公司，该公司主要产生生活废水，不产生生产废水，生活废水经治理设施处理后外排，营业执照及环保手续齐全。该公司正常营业，该排水口为雨水口，现场未见有水向外排入珠江口水域伶仃洋。","否","现场检查未发现环境违法行为"]
["78","入海排污口检查","广州市南沙区南沙集装箱三期码头港口码头排污口YJ9-2","一般监管对象","2025-11-12","该排污口属于广州港股份有限公司南沙集装箱码头分公司，该公司主要产生生活废水，不产生生产废水，生活废水经治理设施处理后外排，营业执照及环保手续齐全。该公司正常营业，该排水口为雨水口，现场未见有水向外排入珠江口水域伶仃洋。","否","现场检查未发现环境违法行为"]
["79","入海排污口检查","广州市南沙区南沙集装箱三期码头港口码头排污口1","一般监管对象","2025-11-12","该排污口属于广州港股份有限公司南沙集装箱码头分公司，该公司主要产生生活废水，不产生生产废水，生活废水经治理设施处理后外排，营业执照及环保手续齐全。该公司正常营业，该排水口为排污口水口，并安装在线设施和设备，现场见有水向外排入珠江口水域伶仃洋；未见异常。","否","现场检查未发现环境违法行为"]
["80","入海排污口检查","广州市南沙区南沙集装箱三期码头港口码头排污口YJ5-1","一般监管对象","2025-11-12","该排污口属于广州港股份有限公司南沙集装箱码头分公司，该公司主要产生生活废水，不产生生产废水，生活废水经治理设施处理后外排，营业执照及环保手续齐全。该公司正常营业，该排水口为排污口水口，并安装在线设施和设备，现场见有水向外排入珠江口水域伶仃洋；未见异常。","否","现场检查未发现环境违法行为"]
["81","入海排污口检查","广州市南沙区广州市南沙华实纸品厂工矿企业排污口","重点监管对象","2025-11-03","现场检查时该企业已停产，上述企业入海排污口未发现有废水排放。","否","现场检查未发现环境违法行为"]
["82","入海排污口检查","广州市南沙区黄阁镇广州港海嘉汽车码头有限公司港口码头排污口","一般监管对象","2025-11-05","现场检查时企业正常生产，因涨潮影响，上述入海排污口位于水平面以下，无法取样监测，现场未见上述入海排污口有异常排水情况。","否","现场检查未发现环境违法行为"]
["83","入海排污口检查","广州市南沙区黄阁镇中石油鸿业储运有限公司港口码头排口3","一般监管对象","2025-11-05","现场检查该公司已停产半年，该公司入海排污口未发现有废水排放。","否","现场检查未发现环境违法行为"]
["84","入海排污口检查","广州市南沙区广州近洋港口经营有限公司港口码头排污口","一般监管对象","2025-11-05","现场检查时企业正常生产，因涨潮影响，上述入海排污口位于水平面以下，无法取样监测，现场未见上述入海排污口有异常排水情况。","否","现场检查未发现环境违法行为"]
["85","入海排污口检查","广东省广州市南沙区万顷沙镇广州市广泓混凝土有限公司工矿企业排污口","重点监管对象","2025-11-12","现场检查时该公司正常生产，污染治理设施正常运行，检查排口为雨洪排口，现场不排水，未能开展监测，未发现废水外排及其他环境违法行为。","否","现场检查未发现环境违法行为"]